Hospital Disaster Preparedness Self-Assessment Tool

Hospital Disaster Preparedness Self-Assessment Tool

This assessment tool was developed to assist hospitals in revising and updating existing disaster plans or in the development of new plans. The tool was originally used by a subject matter expert survey team to collect data for a Department of Homeland Security (DHS) grant so it is constructed in a survey format. The data was then used to develop a specialized instruction program for that facility that addressed any areas needing improvements. We feel this assessment tool can also be utilized in a self-assessment format by the institution in the review of their disaster plans.

This assessment tool was based on two resources, the Hospital Emergency Analysis Tool (HEAT) with the assistance of Dr. Neill Oster and the ACEP text Community Medical Disaster Planning and Evaluation Guide. When used to revise or update existing disaster plans, the items can be used to systematically review each aspect of the current disaster plan. The facility can determine if any items are not applicable to their particular facility. When used to assist in the development of a new disaster plan, the tool provides an excellent check list to assure every aspect of disaster planning is addressed.

The American College of Emergency Physicians (ACEP) has several other resources such as our on-line Hospital Evacuation Planning training program and our Hospital Patient Surge Planning Templates. For information on these and other products contact:

Rick Murray, EMT-P

Director, EMS and Disaster Preparedness Department

rmurray@acep.org

Pat Elmes, EMT-P (Ret.)

Manager, EMS and Disaster Preparedness Department

pelmes@acep.org

Deb Fly

Administrative Assistant, EMS and Disaster Preparedness Department

dfly@acep.org

TABLE OF CONTENTS

Hospital Information………………………………………………………………………………………………………………………….….6

Part One

Hospital Profile…………………………………………………………………………………………………………………………..7

Hospital Staffing………………………………………………………………………………………………………………....7

Non-hospital based (Satellite) Clinics and Staffing……………………………………………………………………………...7

Current Patient Care Capacity…………………………………………………………………………………………………....9

Other Hospital Capacities……………………………………………………………………………………………………………….10

Emergency Management Planning……………………………………………………………………………………………………………...11

Safety and Security……………………………………………………………………………………………………………...11

Logistics and Facilities……………………………………………………………………………………………………….…12

Facility Readiness…………………………………………………………………………………………………………….…13

Part Two

Analysis of Critical Preparedness Factors………………………....................................................................................................…....14

Section 1:	Leadership and Governance........................................................................................................................................................14

Leadership Succession and Continuity of Operations………………………………………………………………………………….14

Incident Command System………………………………………………………………………………………………………….….15

Hospital Command Center……………………………………………………………………………………………………………...15

Mutual Aid Agreements………………………………………………………………………………………………………………...17

Hospital Emergency Management/Disaster Preparedness Committee………………………………………………………………....17

Section 2:	Emergency Management Planning………………………………   ……………………………………………………….......19

Emergency Management Plan (EMP)…………………………………………………………………………………………….…….19

Alternate Care Site……………………………………………………………………………………………………………………...20

Patient Transportation…………………………………………………………………………………………………………………..21

Volunteer Management…………………………………………………………………………………………………………………21

Section 3:       Clinical Operations……………………………………………………………………………………………………………...22

Emergency Medical Services………………………………………………………………………………………………………..….22

Emergency Department Capacity......................................................................................................................................................…..22

Patient Triage…………………………………………………………………………………………………………………..........….23

Patient Tracking………………………………………………………………………………………………………………..... …….24

Isolation Bed Capacity (negative flow)..............................................................................................................................................…..24

Staff Protection…………………………………………………………………………………………………………………….........25

Patient Decontamination………………………………………………………………………………………………………………..25

Disease Surveillance………………………………………………………………………………………………………………….....26

Radiation Exposure………………………………………………………………………………………………………………......….27

Critical Incident Stress Management…………………………………………………………………………………………………....28

Pharmacy Services…………………………………………………………………………………………………………………........29

Immunization and Chemoprophylaxis……………………………………………..................................................................................30

Fatalities Management…………………………………………………………………………………………………………......……30	Evidence Collection and Preservation……………………………………………………………………………………......................31

Laboratory Services……………………………………………………………………………………………………………………..31

Blood Bank Services…………………………………………………………………………………………………………………….32

Section 4:	Safety, Fire and Security..............................................................................................................................................................33

Safety Program………………………………………………………………………………………………………………………….33

Fire Prevention and Response…………………………………………………………………………………………………………..33

Security……………………………………………………………………………………………………………………………....….34

Section 5:  Logistics and Facilities…………………………………………………………………………………………………………......36

Supplies……………………………………………………………………………………………………………………………...….36

Food Services……………………………………………………………………………………………………………….……...........36

Emergency Power……………………………………………………………………………………………………………..….….….37

Water Supply……………………………………………………………………………………………………………………….…...37

Medical Gasses…………………………………………………………………………………………………………………….…....37

Ventilation…………………………………………………………………………......................................................................…..…37

Fuel………………………………………………………………..................................................................................................….....38

Waste Disposal……………………………………………………………...…………….................................................................….38

Section 6:	Communication, Warning and Notification.................................................................................................................................39

Facility Notification………………………………………………………………………………………………………….…...…….39

Staff Notification……………………………………………………...........................................................................................……..39

Communications…………………………………………………………………...........................................................................…...40

Information Management/Telecommunications………………………………………………………………………………...……...40

Section 7:	Public Information, Media Relations and Risk Communications……………………………………………………...........….41

Public Information and Media Relations…………………………………………………………………………………………..........41

Risk Communications…………………………………………………...................................................................................................41

Section 8:	Training, Drills and Exercises………………………………………………..................................................………………...42

Training………………………………………………………………………………………………………………............................42

Drills and Exercises………………………………………………………………………………………………..…………………...42

Section 9:	Performance Improvement and Quality……………………………………………………………………………………..….43

Hazard Vulnerability Analysis………………………………………………………………………………………………….………44

Emergency Management Standards…………………………………………………………………………………………….………44

| Hospital Disaster Preparedness Self-Assessment Tool |
| --- |
| Hospital: |  |
| Address: |  |
| City: , | State: | Zip |
| Telephone |  |
| Hospital Leadership |
| Administrator/CEO name and title: |  |
| Office Telephone Number: |  |
| Fax Number: |  |
| E-Mail: |  |
| Disaster Planning Manager name and title: | Position held for: years and/or months |
| Department: | Full-time Yes No Part-time Yes No |
| Office Telephone Number: |  | Fax Number: |  |
| E-Mail: |  |
| Person Completing Survey: |  |
| Name and Title: |  |
| Department: |  |
| Office Telephone Number: |  | Fax Number: |  |
| E-Mail: |  |
| Secondary Contact for Survey: |  |
| Name and Title: |  |
| Department: |  |
| Office Telephone Number: |  | Fax Number: |  |
| E-Mail: |  |

# PART ONE—HOSPITAL PROFILE

| Hospital Name | Total Licensed # of Beds (NDMS definition) |
| --- | --- |
| Hospital Staffing Clinical Non Clinical Licensed Practioners Residents (if teaching hospital) TOTAL HOSPITAL STAFF Non-hospital based (Satellite) Clinics and Staffing Number of Clinics Clinic Staff Full Time Staff Contract Staff |
| Facility is located: As part of a medical center/medical school Stand-alone, in a civilian community Part of a regional hospital system Part of a national hospital chain Military JCAHO Accreditation: Facility is a National Disaster Medical System (NDMS) member. Yes No If yes, site of Federal Coordinating Center (FCC): Facility is located in a Metropolitan Medical Response System Region: Yes No Don’t know Facility has an on-site heliport/helipad Yes No Capacity of helipad: Weight: Number of pads: Lighted: Yes No Access: Support: How is it coordinated? Temporary heliport/helipad? Yes No Landing zone is maintained by: Crash response provided by: Hospital response team Yes No Local Fire Department Yes No Don’t know |  |  |

| CURRENT PATIENT CARE CAPACITY |
| --- |
|  | LICENSED BED CAPACITY | AVERAGE STAFFED BEDS (Average beds actually in use and staffed in last 6 months) | BEDS WITH NEGATIVE AIR FLOW (For use in respiratory isolation) | MONITORED BEDS (Beds equipped with cardiac and vital signs monitors) | VENTILATORS (Number of ventilators in each unit) Owned or rented | SURGE CAPACITY (Number of additional beds that can be staffed & equipped w/in 12 hours) | Negative Pressure Beds/ Isolation |
| Ambulatory |  |  |  |  |  |  |  |
| Behavioral Health |  |  |  |  |  |  |  |
| Burn |  |  |  |  |  |  |  |
| Emergency Department |  |  |  |  |  |  |  |
| Intensive Care, Medical |  |  |  |  |  |  |  |
| Intensive Care, Neonatal |  |  |  |  |  |  |  |
| Intensive Care, Pediatric |  |  |  |  |  |  |  |
| Intensive Care, Stepdown |  |  |  |  |  |  |  |
| Intensive Care, Surgical |  |  |  |  |  |  |  |
| Medical-Surgical |  |  |  |  |  |  |  |
| Nursery |  |  |  |  |  |  |  |
| Obstetric (Ante/post-partum, labor, delivery) |  |  |  |  |  |  |  |
| Operating Room |  |  |  |  |  |  |  |
| Pediatrics |  |  |  |  |  |  |  |
| Post Anesthesia Care |  |  |  |  |  |  |  |
| Skilled Nursing Facility Care |  |  |  |  |  |  |  |

OTHER HOSPITAL CAPACITIES

| Laboratory | Lab Bio-Safety Level: 1 2 3 4 |
| --- | --- |
|  | Laboratory volume per hour that stimulates additional/urgent staffing plan: |
| Trauma Level Designation: | I II III IV V (check one) Certified by ACS State |
| Ambulance/EMS | Does hospital lease or own ambulances? Ground or air? |
| Morgue | Capacity: |
| Transportation* | List types and number of vehicles facility owns/operates for patient transport (not including EMS rigs): |
| Portable cardiac monitors |  |
| Portable X-ray |  |
| Portable sonograms |  |
| Portable ventilators |  |
| Inclusive of disposable |  |
| Automatic resuscitation devices |  |
| Total number of ventilators |  |
| Average % of ventilators in use within last 6 months |  |
| Radiation therapy |  |

| EMERGENCY MANAGEMENT PLANNING |
| --- |
| Emergency Management Plan | Date of current EMP: |
| Emergency Department Capacity | a. Average daily ED visits: |
|  | b. Actual number of pre-printed disaster (MC) patient charts on hand: |
|  | c. What causes the disaster plan to be activated? |
|  | d. How is plan communicated and/or distributed? |
| SAFETY AND SECURITY |
| Safety and Security | Hospital security is provided by: |
|  | Number of full-time and part-time security personnel: |
|  | In-house: Full-time Part-time |
|  | Contract: Full-time Part-time |
|  | Armed police force: Full-time Part-time |
|  | Non-armed security force: Full time Part-time |
|  | On duty 24 hours/ 7 days per week in ED Yes No |

| LOGISTICS AND FACILITIES |
| --- |
| Emergency Power | a. Emergency power duration is hours. |
|  | b. Emergency power generation capability is: |
|  | c. Emergency power generator is located: (physical location) At grade Above grade Below grade |
|  | d. Emergency power generator was last tested: |
|  | e. How often is it tested? |
|  | d. Do you have: None Partial Load of Operations Full Load of Operations |
|  | e. How long can it be run without refueling? |
|  | f. Does it power only Life Safety? Yes No |
|  | g Does it power Life Safety and full facility? Yes No |
|  | h. Does it power elevators? Yes No |
|  | i. Does it power the critical branches? Yes No |
|  | j. Load shed? |
|  | k. Preservation of food? |
| Water Supply | a. Source of facility water is: community facility |
|  | b. Secondary source of water if primary source is cutoff: Yes No Capacity: |
|  | c. Can you attach non-potable water to your facility? Yes No |
| Fuel | a. Facility has days of fuel on-hand. |
|  | b. How does the facility get additional fuel? |
|  | c. How long can boilers run? |
|  | d. What is the amount of time (in hours) that boilers can operate w/o refueling? |

| FACILITY READINESS |
| --- |
| Respiratory Protection Equipment Status | a. Percent of total clinical staff with fit-testing for N95 or N99 respirators annually: |
|  | b. Percent of non clinical staff with fit-testing for N95 or N99 respirators annually: |
|  | c. Quantity of powered air purifying respirators: |
| Disaster Readiness Training | a. Percent of total staff who have completed disaster response/preparedness training: |
|  | b. Percent of medical staff who have completed disaster response/preparedness training: |
|  | c. Percent of nursing staff who have completed disaster response/preparedness training: |
|  | d. Percent of total staff who have trained with facility’s own disaster plan: |
|  | e. Percent of medical staff who have trained with facility’s own disaster plan: |
|  | f. Percent of nursing staff who have trained with facility’s own disaster plan: |

### PART TWO—ANALYSIS OF

CRITICAL PREPAREDNESS FACTORS

| Legend: SECTION |
| --- |
| SUB-SECTION |
| + or - | CRITICAL PREPAREDNESS FACTOR (numbered) | ANALYST NOTES |
|  | SUB-FACTORS (lettered) |  |

| Section 1. LEADERSHIP AND GOVERNANCE |
| --- |
| LEADERSHIP SUCCESSION AND CONTINUITY OF OPERATIONS |
|  | 1. Facility has a leadership succession plan (LSP) Yes No |  |
| a. Facility has a continuity of operations plan (COOP). Yes No |  |
| b. Has COOP been exercised in last 6 months? Yes No |  |
| c. If no, when was the last time it was exercised? |  |
| d. Facility has a business continuity plan Yes No |  |
| e. What are the 3 priority functions restored first? |  |
| f. There is a mechanism to track the use of financial resources? Yes No |  |

| INCIDENT COMMAND SYSTEM |
| --- |
|  | 2. An Incident Command System (ICS) or Hospital Incident Command System (HICS) is in place. Yes No |  |
| a. ICS is exercised at least twice annually. Yes No Last exercised: |  |
| b. ICS is coordinated by a Unified Command Structure coordinated when appropriate with law enforcement, fire, EMS. Yes No |  |
| c. Incident Commander is known by all staff. Yes No |  |
| d. There is a procedure to designate an Incident Commander. Yes No |  |
| e. Staff assigned to ICS leadership roles are oriented to their responsibilities. Yes No |  |
| f. Staff assigned to key roles wear identifying gear during an event. Yes No |  |
| g. All staff know where to report when the ICS is activated. Yes No |  |
| h. Staff understands the flexibility of their positions in the ICS if leadership is unavailable. Yes No |  |
| i. ICS or HICS is NIMS compliant? Yes No |  |
| i. After action reports are completed after all exercises? Yes No |  |
| HOSPITAL COMMAND CENTER |
|  | 3. A Hospital Command Center (HCC) is fully operational and integrated into local/county emergency planning and operations. Yes No |  |
| a. In the HCC, telephone numbers are available for: the local health department Yes No state health department Yes No local FBI field office Yes No CDC Emergency Preparedness Office Yes No Others |  |
| b. HCC is equipped with: Telephones Yes No Satellite phones Yes No Fax Yes No Two-way radios Yes No Generator Yes No Maps of hospital Yes No Maps of local area Yes No Bullhorns Yes No Flashlights Yes No Copy of the emergency management plan Yes No Other |  |
| c. HCC is located in a secure location. Yes No |  |
| d. An alternate HCC site exists and can be used if the primary site is inaccessible. Yes No |  |
| e. HCC can maintain 24 hour operations for a minimum of 1 week. Yes No |  |
| f. HCC can monitor local media. Yes No |  |
| g. Each section chief has a designated telephone line. Yes No |  |
| h. The ICS command staff has adequate, pre-defined communications system. Yes No |  |
|  | 4. There is a process to provide a Rapid Needs Assessment (RNA) or situation report (SITREP) to Incident Command that includes an assessment of the extent of the event Who? How? When? |  |
| a. RNA/SITREP describes the magnitude of the event. Yes No |  |
| b. RNA/SITREP includes the status of operational and disrupted critical services. Yes No |  |
| c. RNA/SITREP describes: impact on medical care operations Yes No scope and nature of casualties Yes No ability to sustain emergency response operations. Yes No |  |

| MUTUAL AID AGREEMENTS |
| --- |
|  | 5. Facility has current mutual aid Memorandum of Understanding (MOUs) in place. Yes No |  |
|  | a. Memorandum of Understanding (MOUs) are in place with: Law enforcement Yes No Fire Yes No Emergency medical services (EMS) Yes No Public Safety Yes No Military installations Yes No Other local and regional health care facilities Yes No Burn center Yes No Red Cross Yes No MMRS Yes No CERT Yes No Other |  |
| b. Memorandum of Understanding (MOUs) are in place for: Portable MRI Yes No Portable CT Yes No Portable Dialysis Yes No Generators Yes No |  |

| HOSPITAL EMERGENCY MANAGEMENT/DISASTER PREPAREDNESS COMMITTEE |
| --- |
|  | 6. A hospital emergency management/disaster preparedness committee exists and provides leadership and governance. Yes No |  |
| a. Committee is multidisciplinary. Yes No |  |
| b. Open meetings are held regularly Yes No How often? |  |
| c. Committee meeting minutes/action plan are available for review. Yes No |  |
| d Committee forwards critiques of all drills to appropriate services in a timely manner. Yes No e. Committee is knowledgeable of hospital “system” plans that could override local plans. Yes No |  |
| f. Committee communicates with and/or cooperates with other hospitals in the community Yes No |  |
| g. Facility representative attends at least 75% of Local/Community Emergency Planning Committee. meetings. Yes No |  |
| h. Facility representative reports to governance of the hospital on community planning, exercises and after-action reports. Yes No |  |
| i. Facility participates in joint training exercises. Yes No |  |

| Section 2. EMERGENCY MANAGEMENT PLANNING |
| --- |
| EMERGENCY MANAGEMENT PLAN (EMP) |
|  | 7. Facility has an EMP that addresses the four phases of emergency management: preparedness, response, mitigation, and recovery. |  |
| a. The EMP addresses internal and external emergencies. Yes No |  |
| b. The EMP contains provisions to meet the needs of special populations: Pediatrics Yes No Geriatrics Yes No Gravidas at term Yes No Disabled Yes No |  |
| c. The EMP is easily accessible to all staff. Yes No |  |
| d. The EMP addresses all hazards events (based on your HVA). Yes No |  |
|  | 8. The EMP includes arrangements for rapid transfer of ED patients to inpatient units Yes No The EMP includes arrangements for early discharge and transfer of inpatients from the facility. Yes No |  |
| a. The EMP includes arrangements to provide discharge medications for rapid discharges. Yes No |  |
| b. The EMP addresses plans for follow-up outpatient care as needed. Yes No |  |
| c. There is a local plan for providing Rx and consumable medical supplies. Yes No |  |
|  | 9. The EMP includes planning to manage a 25% increase in patients on all units. Yes No |  |
| a. The EMP includes written and validated arrangements for surge staffing. Yes No |  |
|  | 10. The EMP includes arrangements to cancel non-emergent services. Yes No |  |
|  | 11. Spiritual care is integrated into EMP. Yes No |  |
|  | 12. The EMP includes provisions for recovery and return to normal operations. Yes No |  |
| a. There is a financial plan for recovery. Yes No |  |
| b. It has been tested. Yes No |  |
| c. There is a method to track resources. Yes No |  |
|  | 13. The EMP contains planning to provide child care for staff and patients. Yes No |  |
|  | a. The plan has been exercised. Yes No |  |
|  | 14. The EMP is consistent with local and state regulations. Yes No |  |
|  | 15. The EMP is shared with the appropriate local and state emergency agencies. Yes No |  |

| ALTERNATE CARE SITE |
| --- |
|  | 16. Facility has an MOU with a designated alternate care site(s) if inpatients must be transferred. Yes No |  |
| Patient transfer plan has been exercised. Yes No |  |
| b. Medical and support staffing plans are in place. Yes No |  |
| c. Supplies and pharmacy delivery has been addressed. Yes No |  |

| PATIENT TRANSPORTATION |
| --- |
|  | 17. Facility owns or has rapid access to vehicles that could be used for patient transport (vans, busses, golf carts, etc.). Yes No |  |
| a. If facility does not own vehicles, it has an MOU to rapidly obtain vehicles for patient transport. Yes No |  |
| b. MOU exists with secondary or backup vendor if primary vendor in unavailable. Yes No |  |
| c. Adequate equipment (gurneys, stretchers, stair chairs, etc.) is available to completely evacuate the facility. Yes No |  |

| VOLUNTEER MANAGEMENT |
| --- |
|  | 18. Facility volunteers are included in EMP and exercises. Yes No |  |
| a. Facility pre-credentials and trains volunteer professionals (i.e., clinical staff, retired physicians, nurses and others). Yes No |  |
| b. Facility participates in either a regional or national emergency responder credentialing system. Yes No |  |

| Section 3. CLINICAL OPERATIONS |
| --- |
| EMERGENCY MEDICAL SERVICES |
|  | 19. Facility has MOU’s with local EMS for patient transport. Yes No |  |
| a. EMS staff is familiar with facility EMP. Yes No |  |
| b. EMS staff has participated in facility EMP exercise. Yes No |  |
| c. EMS staff can be integrated into Emergency Department (ED) staff during an emergency. Yes No |  |

| EMERGENCY DEPARTMENT CAPACITY |
| --- |
|  | 20. ED staff use identifying gear when emergency plan is activated. Yes No |  |
|  | 21. ED has pre-printed patient charts for use in an emergency equal to 2 times the number of average daily ED visits. Yes No |  |
|  | 22. Cache of emergency drugs and antidotes is maintained in ED. Yes No |  |
| a. Antidotes include: Atropine Yes No 2-PAM (2-Pralidoxime) Yes No Diazepam Yes No BAL (Dimercaprol) Yes No Sodium thiosulfate Yes No Sodium nitrate Yes No Amyl nitrate Yes No Potassium iodide Yes No Sodium bicarbonate Yes No Others: |  |
| b. Drugs include: Epinephrine Yes No Beta-agonists Yes No Naloxone Yes No Dopamine Yes No Silvadine Yes No Steroids Yes No Morphine sulfate Yes No Demerol Yes No Aspirin Yes No Others: |  |
| c. Cache includes: Saline Yes No Oxygen Yes No Nebulizer set-ups Yes No Tetanus Yes No Others: |  |
| d. Memorandum of Understanding (MOU) with the regional Poison Control Center. Yes No |  |
|  | 23. Designated disaster supplies are ready for immediate distribution to and from the ED. Yes No |  |
| a. Disaster supplies are inventoried, secured, cycled and labeled “FOR DISASTER USE ONLY.” Yes No |  |

| PATIENT TRIAGE |
| --- |
|  | 24. Facility uses a triage system that is consistent with local EMS. Yes No |  |
| a. Triage tags are maintained in ED. Yes No |  |
| b. Protocol includes ‘deceased” category for victims beyond help. Yes No |  |
| c. Protocol includes ‘immediate’ category for life-threatening condition. Yes No |  |
| d. Protocol includes ‘delayed’ category for serious non-life threatening condition. Yes No |  |
| e. Protocol includes ‘minor’ category for minimal care requirement. Yes No |  |
| f. Facility uses same triage color code system as local EMS. Yes No |  |
|  | 25. Level of patient volume that triggers activation of triage system is defined. Yes No |  |
|  | 26. ED has designated an alternate triage area. Yes No |  |
| a. Area can be used at night. Yes No |  |
| b. Area is weather-proof. Yes No |  |
| c. Area is temperature controlled. Yes No |  |
|  | 27. Facility has an alternate treatment area to accommodate casualty surge. Yes No |  |

| PATIENT TRACKING |
| --- |
|  | 28. Facility has a method for casualty tracking. Yes No |  |
| a. If casualty tracking is automated, facility has a back-up method in the event the automated method fails. Yes No |  |
| b. Facility can provide and track care for unknown patients (John and Jane Does). Yes No |  |
| c. Facility can track patients that are transferred to another local facility. Yes No |  |
| d. Facility can track patients that are evacuated out of the community. Yes No |  |

| ISOLATION BED CAPACITY (negative flow) |
| --- |
|  | 29. Facility can increase isolation bed capacity. Yes No |  |
| STAFF PROTECTION |
|  | 30. Facility has a plan, equipment and appropriate level of Personal Protective Equipment (PPE) for protecting staff from the effects of chemical, biological or radiological agents. Yes No |  |
| a. Identified staff are trained to provider level: in use of PPE Yes No Knowledge of the PPE storage locations Yes No Understanding the concepts of zones of care (hot, warm, cold). Yes No |  |
| b. Re-certification training for identified staff is accomplished annually. Yes No |  |

| PATIENT DECONTAMINATION |
| --- |
|  | 31. Facility can manage emergency decontamination of 4 patients without outside resources or equipment that must be constructed to be deployed. |  |
| a. A fully operational patient decontamination area is external and proximate to the ED. Yes No |  |
| b. Water supply includes hot and cold. Yes No |  |
| c. A trained decontamination team exists and is trained to OSHA levels with NIOSH approved equipment. Yes No |  |
| d. Provisions are in place for cold weather decontamination. Yes No |  |
| e. Facility has access to a portable decontamination unit that is accessible and operational within minutes. How many? Yes No |  |
| f. Procedures are in place to insure privacy for male and female patients. Yes No |  |
| g. Procedures are in place to collect and secure patient’s property. Yes No |  |
| h. Procedures are in place to insure proper control of weapons or ammunition found on patients undergoing decontamination. Yes No |  |
|  | 32. A trained patient decontamination team exists and is trained to OSHA levels with NIOSH approved equipment. Yes No |  |
| a. Decontamination team has executed full exercise of process in last year. Yes No |  |
| b. Decontamination team is capable of decontaminating ambulatory and non-ambulatory patients. Yes No |  |
| c. Primary decontamination team can be decontaminated by a trained secondary decontamination team. Yes No |  |
| d. An individual is charged with upkeep and maintenance of the decontamination unit and inspections are completed regularly. Yes No |  |
| e. There is a plan for capture of runoff for environmental protection and evidence collection. Yes No |  |
|  | f. Facility can decontaminate how many ambulatory patients per hour? |  |
|  | g. Facility can decontaminate how many non-ambulatory patients per hour? |  |
|  | h. Dates of last 2 decontamination drills or actual event: and |  |

| DISEASE SURVEILLANCE |
| --- |
|  | 33. Coordination is in place to conduct epidemiologic surveillance (microbiology, pathology, infectious disease, infection control, etc.) Yes No |  |
|  | a. Procedures are in place to monitor employee absenteeism on a daily basis Yes No |  |
|  | 34. Admission diagnoses and ED diagnoses are reviewed daily with focus on spikes in disorders: Pulmonary Yes No GI Yes No Dermatologic Yes No |  |
|  | 35. Surveillance is coordinated with local and/or state public health agencies: Daily Yes No Weekly Yes No Monthly Yes No Quarterly Yes No |  |
|  | 36. All clinical staff are familiar with signs and symptoms of CDC Category A agents: Anthrax Yes No Botulism Yes No Plague Yes No Smallpox Yes No Tularemia Yes No Viral hemorrhagic fevers Yes No |  |
| a. All staff has access to resources with information about CDC Category A agents. Yes No |  |
|  | 37. Staff is aware of and complies with disease reporting requirements. Yes No |  |
|  | 38. Pharmacy monitors use for spikes in daily usage of: Antibiotics Yes No Anti-diarrheal Yes No Dermatologic agents Yes No |  |
|  | 39. Facility participates in Heath Alert Network (HAN). Yes No |  |

| RADIATION EXPOSURE |
| --- |
|  | 40. Facility has the capability to survey for and detect radiation contamination. Yes No |  |
| a. Facility possesses a functioning count rate meter and staff is trained to operate it. . Yes No |  |
| b. Facility has established background levels for radiation for general medical treatment areas and for radiation decontamination areas using thermo-luminescent dosimeters (TLD’s). Yes No |  |
| c. Facility provides pencil and thermo-luminescent dosimeters for decontamination personnel and first responders. Yes No |  |
| d. Facility has established threshold units for radiation decontamination personnel and first responders. Yes No |  |
| e. Facility has established wide area background monitoring and uses real-time alert monitors. Yes No |  |
|  | 41. Facility has a plan to manage a detected radiation problem including patient care management. Yes No |  |
| a. Plan includes guidance to contact appropriate agencies including Department of Energy and REAC/TS (1-856-576-1005). Yes No |  |
| b. A method for documenting and detailing an occupational radiation exposure is included in the EMP. Yes No |  |

| CRITICAL INCIDENT STRESS MANAGEMENT |
| --- |
|  | 42. Facility has Critical Incident Stress Management team or equivalent mental health services. |  |
| a. Mental health services are available during and after a mass casualty event. Yes No |  |
| b. Team members are trained in crisis care and emergency response. Yes No |  |
| c. Mental health services are represented on the Emergency Management Planning Committee. Yes No |  |
|  | 43. A plan is in place to assess the physical and psychological well-being of disaster response workers. |  |
| a. Plan identifies physiological, emotional, cognitive and behavioral signs of stress including anxiety, irritability, memory loss, difficulty making decisions, insomnia, hyper-vigilance, extreme fatigue and other signs that indicate a response worker needs attention. Yes No |  |
| b. Actions are identified to reduce disaster workers’ stress including: mandatory rest/sleep Yes No regular meals and exercise Yes No reasonable hours on duty Yes No access to someone for speaking about the experience Yes No Alone/private time. Yes No |  |
| c. Longitudinal plans for mental health assessment and care for disaster workers are in place. Yes No |  |

| PHARMACY SERVICES |
| --- |
|  | 44. Pharmacy maintains a stockpile of antidotes including: Mark I kits Yes No Atropine: Individual Yes No Multi-dose Yes No 2-PAM (2-Pralidoxime) Yes No Diazepam Yes No BAL (Dimercaprol) Yes No Sodium thiosulfate Yes No Sodium nitrate Yes No Amyl nitrate Yes No Potassium iodide. Yes No |  |
| a. What is the methodology of your stockpile capacity? |  |
|  | 45. Pharmacy monitors daily medication usage and compares current daily usage with usage on same date for previous 5 years. Yes No |  |
|  | a. Pharmacy monitors daily medication usage on a changing baseline. Yes No |  |
|  | 46. MOU exists to ensure rapid delivery of medications from suppliers during an emergency. Yes No |  |
| a. MOU has been tested. Yes No |  |
| b. MOU exists with secondary or backup vendor if primary vendor is unavailable. Yes No |  |
| c. MOU exists for community wide sharing of pharmaceuticals. Yes No |  |

| IMMUNIZATION AND CHEMOPROPHYLAXIS |
| --- |
|  | 47. Facility has a plan for immunization and chemoprophylaxis. |  |
| a. Staff are trained to provide immunization and chemoprophylaxis or facility has plan to request external team to conduct immunization for staff and patients. Yes No |  |
| b. Administrative support is available to manage record keeping for immunization and chemoprophylaxis. Yes No |  |
| c. Pharmacy maintains 5-day stockpile of antibiotics in the event of exposure to anthrax spores or pneumonic plague (i.e., ciprofloxacin, doxycycline) for staff and patients. Yes No |  |
| d. Plan addresses acquiring appropriate anti-viral or prophylaxis for pandemic outbreak. Yes No |  |

| FATALITIES MANAGEMENT |
| --- |
|  | 48. Adequate plans are in place for management of fatalities. Yes No |  |
| a. Refrigerated storage facilities for fatalities are available or an MOU is in place to acquire storage. Yes No |  |
| b. Relationship with local coroner is in place and contact information is accessible. Yes No |  |
| c. Morgue/mortuary services staff are trained for surge. Yes No |  |
| d. In cases where remains are infectious, contaminated or evidence, the fatalities management plan addresses the cultural and religious needs of survivors. Yes No |  |
| e. Extra storage areas have been designated within the facility. Yes No |  |
| f. EMP includes participation in a community morgue surge plan. Yes No |  |
| g. Policies and procedures are in place to facilitate the disposition of contaminated (infectious and/or chemical) remains. Yes No |  |

| EVIDENCE COLLECTION AND PRESERVATION |
| --- |
|  | 49. An evidence preservation plan is in place and includes procedures for clinical and security staff. Yes No |  |
| a. A procedure exists to notify staff that a concurrent criminal investigation is occurring. Yes No |  |
| b. Evidence collection and containers are available including: 55 gallon drums for liquids and runoff Yes No Re-sealable plastic bags for biohazards and powders Yes No Brown paper bags for potential gunpowder recovery. Yes No |  |
| c. Staff is trained in evidence collection procedures. Yes No |  |
| d. A procedure is in place to maintain chain of custody of potential evidence. Yes No |  |

| LABORATORY SERVICES |
| --- |
|  | 50. Laboratory services are trained for surge capacity (increased specimen load). Yes No |  |
|  | b. There is a protocol for reporting and referring suspicious isolates to local/state health department. Yes No |  |
| 51. MOU’s are in place to re-supply media, reagents and other critical supplies. Yes No |  |
| 52. An arrangement is in place to transfer workload if laboratory is overwhelmed. Yes No |  |

| BLOOD BANK SERVICES |
| --- |
|  | 53. Blood bank services have surge capacity plans in place and are trained for surge activity. Yes No |  |
| a. MOU is in place with regional blood center for emergent delivery of blood products. Yes No |  |
| b. Blood product delivery system has been exercised in last 12 months and is deemed reliable. Yes No |  |

| Section 4. SAFETY, FIRE AND SECURITY |
| --- |
| SAFETY PROGRAM |
|  | 54. Facility has a safety program that identifies, controls and mitigates facility hazards. Yes No |  |

| FIRE PREVENTION AND RESPONSE |
| --- |
|  | 55. Facility has a fire prevention and response plan. Yes No |  |
| a. Fire alarm, detection and suppression systems are in good working order. Yes No |  |
| b. Personnel are trained in specific roles and responsibilities when they are at: a fire’s point of origin Yes No away from the point of origin Yes No in a building evacuation due to fire Yes No |  |
| c. Facility has quarterly fire drills with at least 50% of drills unannounced. Yes No |  |
| d. All exit routes have emergency lighting and signs posting the direction to the exit. Yes No |  |

| SECURITY |
| --- |
|  | 56. Facility has a security force with full-time security responsibilities. Yes No |  |
| a. Criminal background checks have been conducted on all security staff. Yes No |  |
| b. Security staff has had professional law enforcement training. Yes No |  |
|  | 57. All entrances and exits are controlled, monitored and can be locked. Yes No |  |
| a. Facility can execute perimeter security protection (lockdown) procedure within minutes of notification. Yes No |  |
| b. Staff has been trained in lockdown procedure. Yes No |  |
| c. Triggers for instituting lockdown are identified and known to leadership. Yes No |  |
| d. Lockdown can be accomplished without the aid of additional law enforcement personnel. Yes No |  |
| e. Facility can post security at all entrances. Yes No |  |
| f. Facility can post additional security personnel in ED. Yes No |  |
| g. A plan is in place to secure and monitor elevators during lockdown. Yes No |  |
|  | 58. A plan exists for security force surge staffing. Yes No |  |
| a. Facility has an MOU with local law enforcement to provide additional security. Yes No |  |
| b. MOU has been tested. Yes No |  |
|  | 59. Parking is not permitted within 80 feet of the facility (stand-off distance). Yes No |  |
|  | 60. A plan is in place to allow prompt facility access for staff and other authorized personnel. Yes No |  |
|  | 61. A plan is in place to provide information to large numbers of concerned family and friends and to control crowds. Yes No |  |
| a. Announcement and information distribution areas are designated. Yes No |  |
|  | 62. Security procedures are in place to insure safety of incoming mail, packages and deliveries to the facility. Yes No |  |

| Section 5. LOGISTICS AND FACILITIES |
| --- |
| SUPPLIES |
|  | 63. Facility has the ability to obtain additional durable medical equipment using in house storage or MOU’s with outside medical equipment supplier. Yes No |  |
|  | A. MOU exists with secondary or backup vendor if prime vendor is unavailable. Yes No |  |
|  | 64. 24-hour contact and distribution arrangements are in place. Yes No |  |
|  | 65. Facility maintains current inventory of equipment, supplies and other essential material required to effectively respond to a mass casualty event. Yes No |  |

| FOOD SERVICES |
| --- |
|  | 66. Facility has adequate food on hand for staff and patients for a 3-4 day period. Yes No |  |
|  | 67. Facility has a plan for food service surge. Yes No |  |
| a. Food Service surge plan has been exercised in last 12 months. Yes No |  |
| b. Food Service is included in facility’s emergency exercises. Yes No |  |
| c. Security of food products is maintained at all times during: Delivery Yes No Storage Yes No Preparation Yes No |  |

| EMERGENCY POWER |
| --- |
|  | 68. Facility has emergency power generating capacity and the power generator is in a secure area. Yes No |  |
| a. Emergency power is adequate to provide for all essential services for three days. Yes No |  |
| b. Facility has documented which essential services will receive power. Yes No |  |
| c. Facility has tested essential services power plan. Yes No |  |
| d. Laboratory and blood bank have been identified as essential services. Yes No |  |
| e. Load testing is performed annually on generator(s). Yes No |  |

| WATER SUPPLY |
| --- |
|  | 69. Water supply and alternate water supply to facility are secure. Yes No |  |

| MEDICAL GASSES |
| --- |
|  | 70. Facility has medical gasses to last 3-4 days without re-supply. Yes No |  |
| a. Facility has an MOU in place to obtain emergency re-supply 24 hours a day. Yes No |  |
| b. MOU exists with secondary or backup vendor if primary vendor is unavailable. Yes No |  |
| c. Medical gasses are in a secured area. Yes No |  |

| VENTILATION |
| --- |
|  | 71. Facility can isolate and shut down Heating, Ventilation, and Air Conditioning (HVAC) system zones in an emergency. Yes No |  |
| a. HVAC shutdown has been exercised in past year. Yes No |  |
| b. Guidelines are in place for emergency shutdown. Yes No |  |
| c. Sections of the facility can be isolated. Yes No |  |
| d. Individuals are identified who have authority for ordering HVAC shutdown 24/7. Yes No |  |
| e. Air intakes are protected from tampering. Yes No |  |
|  | 72. Facilities and Engineering staff have knowledge of HVAC zones and shutdown procedures. Yes No |  |

| FUEL |
| --- |
|  | 73. Facility has an on-campus fuel source which can provide sufficient fuel for 3 days of continuous, full-load demand before replenishment is needed. Yes No |  |
| a. Facility has an emergency fuel replenishment plan in place with a supplier who can be contacted and can provide service at any time. Yes No |  |
| b.MOU exists with secondary or backup vendor if primary vendor is unavailable. Yes No |  |
| c. On-campus fuel source(s) is/are in secured area(s). Yes No |  |

| WASTE DISPOSAL |
| --- |
|  | 74. Facility has procedures for management of increased volume and disposal of contaminated wastes, goods, and fluids. Yes No |  |
| a. At least one individual is certified to package bio-hazardous materials. Yes No |  |
| b. Waste water containment is in compliance with EPA guidelines. Yes No |  |

| Section 6. COMMUNICATIONS, WARNING, AND NOTIFICATION |
| --- |
| FACILITY NOTIFICATION |
|  | 75. Facility can send and receive emergency warning and notification information. Yes No |  |
| a. Facility can receive warnings of imminent emergency conditions from external agencies. Yes No |  |
| b. Facility can send warnings to external agencies. Yes No |  |
| c. Redundant communication system is in place in the event that the primary system fails. Yes No |  |

| STAFF NOTIFICATION |
| --- |
|  | 76. Facility can notify on-duty and off-duty staff of emergency status and recall to duty. Yes No |  |
| a. Facility has a plan to notify on-duty and off-duty staff of emergency status. Yes No |  |
| b. Staff notification system has been tested in past 6 months. Yes No |  |
| c. Facility has staff notification with up-to-date, verified phone and other contact information. Yes No |  |
| d. Facility has either an automated call-back system or staff identified and dedicated to staff notification. Yes No |  |
| e. Staff can receive warnings from the Digital Emergency Alert System by either voice or text messages on their wireless phones. Yes No |  |
| f. Facility keeps a current and updated list of staff that volunteer and are likely to be deployed during an emergency (NDMS, National Guard, etc.) Yes No |  |
| g. The EMP takes into account staff backfill issues. Yes No |  |
| COMMUNICATIONS |
|  | 77. Command uses compatible radios (e.g. 800 mhz) for communications with local agencies. Yes No |  |
|  | 78. Emergency Operations Center has a dedicated telephone trunk line. Yes No |  |
|  | 79. Two-way radio communication (walkie-talkie) is available for all units and essential personnel. Yes No |  |
|  | 80. Facility has access to communications on wheels (COWS). Yes No |  |
|  | 81. Facility has access to amateur radio system (Ham/RACES). Yes No |  |
|  | 82. A back-up communications system is in place in the event that the primary system fails. Yes No |  |
|  | 83. If all technology-based communications fail, staff members who will serve as ‘runners’ have been identified. Yes No |  |

| INFORMATION MANAGEMENT/TELECOMMUNICATIONS |
| --- |
|  | 84. Essential information systems and data storage have offsite storage and recovery capabilities. Yes No |  |
|  | 85. Information management staff participate in facility emergency exercises. Yes No |  |
|  | 86. System has protection from viruses and intentional attacks (hacking). Yes No |  |

| Section 7. PUBLIC INFORMATION, MEDIA RELATIONS, AND RISK COMMUNICATIONS |
| --- |
| PUBLIC INFORMATION AND MEDIA RELATIONS |
|  | 87. Facility has a designated public information officer (PIO). Yes No |  |
| a. In the event of multi-agency response, media activities will be coordinated through Joint Information Center (JIC). Yes No |  |
| b. PIO has established relationships with counterparts in Public Health and emergency management agencies. Yes No |  |
|  | 88. Staff know where and to whom media inquiries are to be referred. Yes No |  |
|  | 89. A site is designated for regular meetings with media. Yes No |  |
| a. PIO has developed generic press releases about the facility and possible emergency conditions. Yes No |  |
| b. PIO has established relationships with local media. Yes No |  |
| c. The press conference location is outside the facility. Yes No |  |

| RISK COMMUNICATIONS |
| --- |
|  | 90. PIO and leadership are trained in risk communication skills. Yes No |  |
| a. Credible leaders accustomed to media exposure are identified as spokespersons. Yes No |  |
| b. Specific spokespersons have been identified for specific events. Yes No |  |
|  | 91. Staff answering phone and dealing with visitors are prepared for their role in an emergency. Yes No |  |

| Section 8. TRAINING, DRILLS AND EXERCISE |
| --- |
| TRAINING |
|  | 92 All staff receives orientation to the Emergency Management Plan (EMP). Yes No |  |
|  | 93. Hospital staff complete annual training/education in CBRNE. Yes No |  |
| a. Emergency Department staff receive at least twice-annual training on response to Chemical, Biological, Radiological, Nuclear and Explosive (CBRNE) events. Yes No |  |
| b. All other clinicians receive annual CBRNE training. Yes No |  |
| c. All non-clinicians receive annual CBRNE/emergency preparedness training. Yes No |  |
| d. All clinicians receive annual blood-borne pathogens training. Yes No |  |
| e. All clinicians maintain current Basic Life Support (BLS) registration. Yes No |  |
| f. Percentage of total staff who have taken a NIMS course and/or are NIMS certified. |  |

| DRILLS AND EXERCISES |
| --- |
|  | 94. Facility exercises Emergency Management Plan (EMP) at least twice per year. Yes No |  |
| a. Exercises are conducted at least 4 months apart and no more than 8 months apart. Yes No |  |
| b. Date of last exercise: |  |
| c. Facilities that offer emergency services include an influx of simulated patients in one exercise. Yes No |  |
| d. Facility participates in at least one community-wide exercise per year. Yes No |  |
|  | 95. Drills/exercises take place on all shifts, on all units and include all facility departments. Yes No |  |
| a. Contract staff is included in drills/exercises. Yes No |  |
|  | 96. Facility has conducted an exercise with casualties: Exposed to a hazardous material Yes No Agent requiring decontamination Yes No Responded to an actual event within the last 12 months. Yes No |  |
|  | 97. All ED personnel participate in at least twice-annual mass casualty exercises. Yes No |  |
|  | 98. At least one exercise in the last year was unannounced. Yes No |  |
|  | 99. Facility has drilled evacuation of staff and patients in the last 12 months. Yes No |  |
| a. Exercise includes horizontal evacuation (to other units). Yes No |  |
| b. Exercise includes vertical evacuation (to other floors). Yes No |  |

| Section 9. PERFORMANCE IMPROVEMENT AND QUALITY |
| --- |
| HAZARD VULNERABILITY ANALYSIS |
|  | 100. Facility has a Hazard Vulnerability Analysis (HVA) conducted in the last 12 months. Yes No |  |
| a. Emergency Management Plan is designed to integrate analysis of risks identified in the Hazard Vulnerability Analysis. Yes No |  |
| b. Analysis was conducted by an external agency in coordination with the community and received community input. Yes No |  |

| EMERGENCY MANAGEMENT STANDARDS |
| --- |
|  | 101. Emergency management plan MEETS Joint Commission on Accreditation of Healthcare Organizations (JCAHO) standards and accrediting organizations. Yes No |  |
| a. All staff who participate in the implementation of the Emergency Management Plan (EMP) receives orientation to and training on the plan. Yes No |  |
|  | 102 Facility has a procedure for conducting after-action reviews of simulated or actual emergency events. Yes No |  |
|  | 103. Facility uses after action reports to identify strengths and weaknesses of the Emergency Management Plan (EMP). Yes No |  |
|  | 104. Facility incorporates information gathered from after actions reports into their Emergency Management Plan (EMP). Yes No |  |